## Slide 2
Metering Unit (MU)
Intelligent Electronic Device (IED)
Remote Terminal Unit (RTU)

## Slide 3
Power Generator
Power Transformer
Next Level device
MU 01
MU 02
MU 03
MU 04
IED 01
IED 02
IED 03
RTU
PLC
Breaker 01
Breaker 02
Breaker sensor
Breaker sensor
V1,
A1
V2,
A2
V2,
A2
V3,
A3
V3,
A3
V4,
A4
V1, A1,P1,S1
V2, A2,P2,S2
V3,A3,P3,S3
V4,A4,P4,S4
S7Comm
Modbus-TCP
Sensor state
Radio Connection
SCADA-HMI

## Slide 4
2D Power Grid Physical-world Simulation Program
PLC0
PLC1
PLC2
Circuit breaker logistic signal interface
SV sensors analog / linear signal interface
…
MU00
MU01
MU08
RTU 01
IEC 61850 Modbus-TCP Bus
PLC
simulation
Measurement Unit simulation
UDP Simulate Digital Signal
Modbus-TCP client interface
MMS client Interface
Power Grid Supervisory Human Machine Interface
IED 01
IED 01
RTU 02
S7Comm Bus
Simulate Radio Link

## Slide 5
Solar farm MU
Solar storage MU
DC-AC Steup Transformer MU
RTU
S7Comm
Physical world data generation
HMI IEC61850 data visualization
Work state: running, Idle , error
Power output state: Voltage, current
Special State: such as motor RPM, battery percentage
IED 01
MMS Radio Connection
SCADA Data Receiver

## Slide 6
Solar farm MU
Solar storage MU
DC-AC Steup Transformer MU
RTU
S7Comm
Physical world data generation
HMI IEC61850 data visualization
Work state: running, Idle , error
Power output state: Voltage, current
Special State: such as motor RPM, battery percentage
IED 01
MMS Radio Connection
SCADA Data Receiver
Implement MU-IED-RTU Monitor Workflow in Power Grid OT Cyber Physical Simulation System