## Slide 1
Simulated battery pack capacity value
Simulated ABB-AC500 IEC60875-104 PLC to monitor all the data in the BESS
Simulated basic Battery Charge/Discharge management system
Basic charge/discharge voltage and current safety mechanism
Simulated basic DC-AC converter to integrate in the power grid’s AC-AT step up transformers

## Slide 3
Energy Battery Scope
OEM Scope
BESS
BESS for renewable power source
BESS for traditional power plant
BESS for power station

## Slide 4
MU00
MU01
MU02
IEC61850 Bus
AC500 PLC Simulator
IEC60870-5-104 Bus
Battery Based Energy Storage System (BESS)
GOOSE (Generic Object-Oriented Substation Event) Network
SCADA (Supervisory Control and Data Acquisition) Network
Power Grid Cyber Range Physical World OT Components Simulator
Power Grid Cyber Range Operator SCADA Human Machine Interface
Charging
Discharging
Idle
Disconnect
Implement Battery Energy Storage System (BESS) In Power Grid Simulation OT Cyber Range
Level 0 OT Physical Process Field I/O Device Layer
Level 1 OT System Controller LAN Layer
Level 2 Power Grid Control Center Processing LAN Layer
Simulated Electrical Signal
Simulated Metering Unit Data