## Slide 1
Power Grid Transformers
Cable Connector
High Voltage Power Transmission Cable
Battery Based Power Storage System
WIFI Antenna
2.4GHz WIFI network
2.4GHz WIFI network
IOT Thermal Sensors
Local Monitor HMI
5G IoT Gateway
5G Network
Power Grid Control Center
OCC Monitor HMI
Power Grid Thermal State management Components

## Slide 2
Level 0
Physical Process
Field I/O
device
Wind Turbines
Low voltage power bus
Secondary Loads
Solar Panels
Power generator
Circuit breakers
High voltage power bus
Step down transformer
Step up transformer
Electrical MUs
Station Loads
Primary Loads
Generation Control PLC
Generation Monitor RTU
Transmission Monitor RTU
Transmission Control PLC
Distribution Control PLC
Distribution Monitor RTU
Level 2
Power Grid
Control Center Processing LAN
Level 1
OT System Controller LAN
Power System control HMI
Power System Monitor HMI
Maintenance workstations
Power Grid Simulation System
Mini Energy-OT-System Cyber Range Platform
Power System Physical World Simulator
OCC Power System
Scada HMI
Modbus
S7Comm
Simulated Electrical signal
OEM Scope
DC Interface
Auto BMS
BESS Controller
BESS Control PLC
IEC60870-104
Local Thermal State monitor HMI
IoT sensor
5G Receiver
5G IoT Gateway
MQTT Via 5G network
2.4G WIFI Network